## Sheet1
Date : 2021-04-27 |  |  |  | Name : [o'
Device | kV-kV | mA-mA | Insulation-MΩ | Voltmeter-V | VAW-V | VAW-A | VAW-W | MicroAmpere-μA-1 | MicroAmpere-μA-2 | PF- | Frequency-Hz | Timestamp
123 | 0-Passed | 0.0-Passed | 0.0-Passed | 0.0-Passed | 0-Passed | 0-Passed | 0-Failed | 0.0-Failed | 0.0-Failed | 0.0-Passed | 0.0-Passed | 04-08-2021 00-42-36
123 | 0-Passed | 0.0-Passed | 0.0-Passed | 0.0-Passed | 0-Passed | 0-Passed | 0-Failed | 0.0-Failed | 0.0-Failed | 0.0-Passed | 0.0-Passed | 04-DD-YYYY 00-41-11
123 | 0-Passed | 0.0-Passed | 0.0-Passed | 0.0-Passed | 0-Passed | 0-Passed | 0-Failed | 0.0-Failed | 0.0-Failed | 0.0-Passed | 0.0-Passed | 08-04-2021 00-43-52
123 | 0-Passed | 0.0-Passed | 0.0-Passed | 0.0-Passed | 0-Passed | 0-Passed | 0-Failed | 0.0-Failed | 0.0-Failed | 0.0-Passed | 0.0-Passed | 4-D-YYYY 00-39-34