## Sheet1
Date : 2021-04-27 |  |  |  | Name : dass
Device | kV-kV | mA-mA | Insulation-MΩ | Voltmeter-V | VAW-V | VAW-A | VAW-W | MicroAmpere-μA-1 | MicroAmpere-μA-2 | PF- | Frequency-Hz | Timestamp
432 | 0-Passed | 0.0-Passed | 0.0-Passed | 0.0-Passed | 0-Passed | 0-Passed | 0-Failed | 0.0-Failed | 0.0-Failed | 0.0-Passed | 50.01-Failed | 27-04-2021 13-47-11
sadasas | 0-Passed | 0.0-Passed | 0.0-Passed | 0.0-Passed | 0-Passed | 0-Passed | 0-Failed | 0.0-Failed | 0.0-Failed | 0.0-Passed | 50.0-Failed | 27-04-2021 13-08-08